SECTION 07560

# GAF ACRYLIC SYSTEM OVER NON-METAL SUBSTRATE

Note:  GAF does not practice architecture or engineering.  This document is provided as a guide specification and is based on criteria provided to GAF.  GAF has not observed the jobsite conditions, contract specifications, or other documents and shall not be construed in any manner to be the designer of record.

- GENERAL

  - SECTION INCLUDES

    - This specification is intended to outline the requirements for application of the GAF System, in conjunction with the appropriate product technical data sheets, over approved roof substrates in acceptable condition.

  - RELATED SECTIONS

    - Section 06100: Rough Carpentry: Roof blocking installation and requirements.

    - Section 07620: Sheet Metal Flashing and Trim: Metal flashing and counter flashing installation and requirements.

    - Section 15430: Plumbing Specialties: Roof drains, scuppers, gutters and downspout installation and requirements.

  - REFERENCES

    - Factory Mutual (FM Global) – Approval Guide.

    - Factory Mutual Standard 4470 – Approval Standard for Class 1 Roof Covers.

    - Underwriters Laboratories (UL) - Roofing Systems and Materials Guide (TGFU R1306).

    - ASTM International (ASTM) – Annual Book of ASTM Standards.

    - ASTM D 1079 – Standard Terminology Relating to Roofing, Waterproofing, and Bituminous Materials.

    - ASTM D 1653 - Standard Test Methods for Water Vapor Transmission of Organic Coating Films.

    - ASTM D 4263 - Standard Test Method for Indicating Moisture in Concrete by the Plastic Sheet Method.

    - ASTM D 4798 / D4798M – 1- Standard Practice for Accelerated Weathering Test Conditions and Procedures for Bituminous Materials (Xenon-Arc Method).

    - ASTM D 6083 - Standard Specification for Liquid Applied Acrylic Coating Used in Roofing

    - ASTM E 96 - Standard Test Methods for Water Vapor Transmission of Materials.

    - ASTM E 108 - Standard Test Methods for Fire Tests of Roof Coverings.

    - ASTM G 26 - Practice for Operating Light-Exposure Apparatus (Xenon-Arc Type) With and Without Water for Exposure of Nonmetallic Materials.

    - ASTM G 53 - Practice for Operating Light- and Water-Exposure Apparatus (Fluorescent UV-Condensation Type) for Exposure of Nonmetallic Materials.

    - Sheet Metal and Air Conditioning Contractors National Association, 1nc. (SMACNA) - Architectural Sheet Metal Manual.

    - National Roofing Contractors Association (NRCA).

    - American Society of Civil Engineers (ASCE).

    - ASCE 7 - Minimum Design Loads for Buildings and Other Structures.

  - DEFINITIONS

    - Roofing Terminology: Refer to ASTM D1079 and the glossary of the National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual for definitions of roofing terms related to this section.

  - SYSTEM DESCRIPTION

    - The GAF roofing work includes roofing, flashing and reinforcing of joints and junctions, and roof accessories integrally related to roof installation.

    - Final determination of the fitness of the system, or its components, for any given roof may not be made by any representative of GAF other than a member of GAF’s Field Services Department.

    - Provide an installed roofing membrane and base flashing system that does not permit the passage of water.

    - GAF shall provide all primary roofing materials that are physically and chemically compatible when installed in accordance with manufacturers current application requirements.

  - SUBMITTALS

    - Submit under provisions of Section 01300.

    - Product Data:

      - Provide product data sheets for each type of product indicated in this section.

    - Shop Drawings:

      - Provide manufacturers standard details and approved shop drawings for the system specified.

  - QUALITY ASSURANCE

    - Manufacturer Qualifications: GAF shall provide a roofing system that meets or exceeds the criteria listed in this section.

    - Installer Minimum Qualifications:

      - Installer shall be classified as a Premium, Master or Master Select Contractor as defined and certified by GAF.

    - Source Limitations: Components listed shall be provided by a single manufacturer or approved by the primary roofing manufacturer.

  - PRE-INSTALLATION CONFERENCE

    - Prior to scheduled commencement of the roofing installation and associated work, conduct a meeting at the project site with the installer, architect, owner, GAF representative and any other persons directly involved with the performance of the work. The installer shall record conference discussions to include decisions, agreements, and open issues and furnish copies of recorded discussions to each attending party. The primary purpose of the meeting is to review foreseeable methods and procedures related to roofing work.

      - Tour representative areas of roofing substrates to inspect and discuss conditions of substrate, penetrations and other preparatory work to be performed.

      - Review GAF requirements (GAF specifications, detail drawings and the Contract Documents).

      - Review required submittals, both completed and in progress.

      - Review and finalize the construction schedule related to roofing work, and verify availability of materials, installer's personnel, equipment and facilities needed to consistently make progress and avoid delays.

      - Review required inspection(s), testing, and certifying, and material usage accounting procedures. Review forecasted weather conditions.

      - Establish procedures for coping with unfavorable conditions, including the possibility of temporary roofing work.

  - REGULATORY REQUIREMENTS

    - Work shall be performed in a safe, professional manner, conforming to federal, state and local codes.

    - UL Listing: Provide GAF System and component materials which have been evaluated by Underwriters Laboratories for flame-spread, and are listed in the "Underwriters Laboratory Roofing Materials and Systems Directory" for Class A construction over existing metal or other non-combustible roofing (Flame-spread shall pass ASTM E-108 and/or UL 790). Provide roof covering materials bearing UL approval marking on the container. This indicates that the material has been subjected to UL's examination, test procedures and follow-up inspection service.

  - DELIVERY, STORAGE & HANDLING

    - Store and handle GAF materials in a manner that will ensure there is no possibility of contamination.

    - Store in a dry, well ventilated, weather tight location at temperatures between 50°F (10°C) and 90°F (32°C) until the products are ready to be applied (keep from freezing). Do not stack material pallets more than two (2) high.

    - Do not subject existing roof to unnecessary loading of stockpiled materials.

    - Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

  - PROJECT CONDITIONS

    - Weather:

      - Proceed with roofing only when existing and forecasted weather conditions permit.

      - Application surface temperature shall be 50°F (10°C) and rising. Care should be taken when coating surfaces above 120°F. Contact GAF Design Services if you have questions regarding these limits.

    - Proceed with roofing work only when existing and forecasted weather conditions will permit work to be performed in accordance with GAF recommendations and guarantee requirements as follows:

      - Do not begin work if precipitation is expected within twenty-four hours of application, or if temperatures are expected to fall below 50°F (10°C) during the duration of the job.

        - FlexSeal™ Sealant may be used in temperatures lower than 42°F (6°C).

      - No moisture may be present when applying GAF products. Taking into consideration the UV curing properties of GAF products allow for sufficient daylight hours necessary for curing of materials.

  - WARRANTY

    - Liquid Applied Emerald Pledge™ Limited Warranty: Manufacturers standard form, in which GAF agrees to repair leaks through the GAF products on GAF roofing system.

      - Warranty Duration:

        - Ten (10) years

        - Fifteen (15) years

        - Twenty (20) years

- PRODUCTS

  - MANUFACTURER

    - Acceptable Manufacturer: GAF, Commercial Roofing Products Division, which is located at: 1 Campus Drive; Parsippany, NJ 07054; Toll Free Tel: 877-423-7663 (option 4, then option 3); Email: designservices@gaf.com ; Web: www.gaf.com

  - COATINGS

    - GAF Acrylic Base Coat: A water based, acrylic elastomeric base coat to improve the adhesion of GAF Acrylic Top Coat. GAF Acrylic Base Coat also provides bleed-blocking on aged asphaltic surfaces. Do not use on EPDM substrates.

      - Application Rate: 1.0 to 1.5 gal per 100 ft2 (4.07 to 6.11 L/ 10 m2) per coat.

      - Application Method: Airless sprayer, brush, or roller.

      - Application Temperature (air, surface): 50°F (10°C) and rising.

    - GAF Bleed-Block Acrylic Base Coat: A water based, acrylic elastomeric base coat to improve the adhesion of GAF Acrylic Top Coat and provide bleed blocking on asphaltic roofs.

      - Application Rate: 1.0 to 1.5 gal per 100 ft2 (4.07 to 6.11 L/ 10 m2) per coat.

      - Application Method: Airless sprayer, brush, or roller.

      - Application Temperature (air, surface): 50°F (10°C) and rising.

    - GAF Premium Acrylic Hydrostop® Base Coat: A high solids elastomeric acrylic base coat used to enhance adhesion of GAF Premium Acrylic HydroStop® Top Coat.

      - Application Rate: 1.0 to 1.5 gal per 100 ft2 (4.07 to 6.11 L/ 10 m2) per coat.

      - Application Method: Airless sprayer, brush, or roller.

      - Application Temperature (air, surface): 50°F (10°C) and rising.

    - GAF Acrylic Top Coat: A water based, acrylic elastomeric top coat that forms a monolithic coating to help provide protection against damage from the exposure to UV and weather elements.

      - Application Rate: 1.0 to 1.5 gal per 100 ft2 (4.07 to 6.11 L/ 10 m2) per coat.

      - Application Method: Airless sprayer, brush, or roller.

      - Application Temperature (air, surface): 50°F (10°C) and rising.

    - GAF Premium Acrylic HydroStop® Top Coat: A professional grade, water based, acrylic elastomeric top coat that forms a monolithic coating to help provide protection against damage from the exposure to UV and weather elements.

      - Application Rate: 1.0 to 1.5 gal per 100 ft2 (4.07 to 6.11 L/ 10 m2) per coat.

      - Application Method: Airless sprayer, brush, or roller.

      - Application Temperature (air, surface): 50°F (10°C) and rising.

    - GAF WOB Acrylic Top Coat: A water based, acrylic elastomeric top coat that does not contain biocides and helps to provide protection against damage from the exposure to UV and weather elements. Also meets NSF Protocol 151 for rainwater catchment.

      - Application Rate: 1.0 to 1.5 gal per 100 ft2 (4.07 to 6.11 L/ 10 m2) per coat.

      - Application Method: Airless sprayer, brush, or roller.

      - Application Temperature (air, surface): 50°F (10°C) and rising.

    - GAF High Tensile Acrylic Top Coat: A water based, acrylic elastomeric top coat containing high tensile emulsion polymers with reinforcing pigments that forms a monolithic coating to help provide protection against damage from the exposure to UV and weather elements.

      - Application Rate: 1.0 to 1.5 gal per 100 ft2 (4.07 to 6.11 L/ 10 m2) per coat.

      - Application Method: Airless sprayer, brush, or roller.

      - Application Temperature (air, surface): 50°F (10°C) and rising.

  - FLASHINGS AND ACCESSORIES

    - GAF Premium Brush-Grade Acrylic Flashing: water based, high solids elastomeric sealant that provides increased tensile strength and elongation as compared with GAF Brush-Grade Acrylic Flashing. Its thick, buttery consistency allows it to be easily worked into gaps and heavily alligatored areas. Also used for encapsulating GAF Premium Fabric.

      - Application Rate: 2.0 gal per 200 linear feet with a 6 inch width (7.6L per 61 linear meters with a 152 mm width), 2 coats typically required.

      - Application Method: Trowel or brush.

      - Application Temperature (air, surface): minimum 50°F (10°C).

      - Dry Time: 1-4 hours depending on application thickness

      - Clean-up: Water before curing.

    - GAF Premium Fabric: tough, non-woven, stitch-bonded, polyester fabric designed for use as a reinforcing material in GAF coatings or BarrierGuard systems. Available in 336 ft. rolls and varying widths.

      - Length: 300 ft. (91 m). Widths available: 4” (102 mm), 6” (152 mm), 8” (203 mm), 12” (305 mm), 16” (406 mm), 20” (508 mm), 24” (610 mm).

      - Length: 336 ft. (102 m). Width available: 40” (1.02 m).

    - GAF Seam Tape: A coatable fabric surface backed with a polymer modified butyl adhesive. It is designed for application to a wide range of substrates where additional strength is required over loose or open seams and membrane tears.

      - Temperature Limits for Service 32°F to 110°F (0°C to 43°C)

      - Bond Time: Initial bond is immediate; full bond requires approximately 24 hours.

  - PRIMERS AND SEALANTS

GAF EPDM Activator is specifically developed for dramatically increasing the bond to new or weathered black EPDM surfaces. It is a low viscosity, clear liquid that chemically alters the black EPDM surface to which it is applied, creating a “lock and key” effect with the subsequent topcoat.

      - Application Rate: 0.2 gallon per 100 ft2 (0.8 L/10m2).

      - Application Method: Brush or low-pressure sprayer.

      - Application Temperature (air, surface): 50°F (10°C) to 110°F (43°C)

    - GAF Multi-Purpose Primer: A two-component, water-based epoxy, 9 to 1 ratio primer. It is effective at increasing the adhesion of acrylic, polyurethane, butyl, and silicone coats over most new or existing roof, deck, and wall substrates, as well as existing coatings.

      - Application Rate: 0.33 to 1.3 gal per 100 ft2 (1.34 to 5.3 L/10 m2); varies depending on substrate, surface, and porosity.

      - Application Method: Brush, roller or sprayer.

      - Application Temperature (air, surface): 50°F (10°C) – 120°F (48°C).

      - Dry Time: 1 hour at 75°F (24°C), 50% relative humidity.

    - GAF Bonding Primer: A two-component, epoxy polyamide penetrating primer and sealer specially formulated to penetrate, prime and seal porous substrates.

      - Application Rate: 0.20 – 0.5 gal per 100 ft2 (0.81 – 2.0 L/ 10 m2) depending on substrate porosity.

      - Application Method: Brush, roller, or sprayer.

      - Application Temperature (air, surface): 40°F (4.4°C) – 110°F (43°C).

      - Dry Time: 75°F (24°C), 50% relative humidity: Approximately 1 hour.

    - GAF TPO Red Primer: A VOC-compliant, solvent based primer used over new or aged TPO to improve adhesion of coatings. TPO Red primer is slightly tinted to distinguish primed areas on bright white TPO membranes. The surface of the treated area must be clean of all dirt, dust, and debris and be completely free of moisture prior to application of the primer.

      - Application Rate: 0.25 gallon per 100 ft2 (1.02 L/ 10m2.).

      - Application Method: Brush, roller, or low pressure sprayer.

      - Application Temperature (air, surface): 50°F (10°C) – 110°F (43°C).

      - Dry Time: 75°F (24°C), 50% relative humidity: Approximately 15 minutes.

    - GAF Epoxy Primer: A single-component water based epoxy primer/sealer.  It is effective at increasing the bond of acrylic, polyurethane, butyl, and epoxy topcoats to a variety of surfaces.

      - Application Rate: 0.3 to 0.4 gal per 100 ft2 (1.4 to 1.6 L/10 m2); varies depending on substrate, surface, and porosity.

      - Application Method: Brush, roller or sprayer.

      - Application Temperature (air, surface): 50°F (10°C) – 110°F (43°C).

      - Dry Time: 30 minutes at 75°F (24°C), 50% relative humidity.

  - CLEANER

    - GAF Cleaning Concentrate: A highly effective cleaning agent that, when combined with water, penetrates the existing coating or substrate and allows contaminants to be flushed from the surface. It is non-toxic and leaves no pollutants or contaminating by-products to damage the environment. Used for the proper cleaning of existing elastomeric coating on roofs, metal surfaces, concrete and masonry substrates, as well as uncoated roof, deck and wall surfaces.

      - Application Rate: 0.5-0.7 gallon per 100 ft2. (2.04-2.9 L/10m2).

      - Application Method: Low pressure sprayer or brush.

  - EQUIPMENT

    - Airless Sprayer and Accessories: As recommended by GAF’s Design Services.

- EXECUTION

  - SUBSTRATE CONDITIONS

    - Installer shall verify adhesion. Questionable substrates shall be directed to GAF’s Field Services Department for resolution.

    - Follow GAF’s Substrate Preparation Guidelines at gaf.com.

  - PREPARATION OF SUBSTRATE

    - Smooth Asphaltic:

      - Moisture Survey: A moisture survey shall be performed on the roof system to determine the suitability of the existing roof for application of a GAF System. Any wet or deteriorated areas shall be removed and replaced. If the moisture survey indicates more than 25% of the roof is wet, consider other reroofing options.

      - GAF recommends that new asphaltic membranes and repairs age at least 30 days; 90+ days is ideal.

      - Do not apply over gravel surfaced asphaltic substrates.

      - Preparation of the Roof substrate is the responsibility of the installer, who shall address and correct all of the conditions listed in this section. Examine substrates to receive new roofing. Do not proceed with the installation of the GAF System until unsatisfactory conditions have been corrected in a manner acceptable to the manufacturer (GAF).

      - Treatment of damaged/deteriorated membrane: Any areas where the membrane has torn, cracked and /or buckled must be repaired using similar or compatible products manufactured by GAF. Any wet insulation must be replaced as part of the roofing repair. Allow at least 24 hours drying time before application of other GAF products.

      - Treatment of Ponding Water Areas: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of GAF products. Ponding water is defined as water that does not properly drain and remains on the roof for more than 48 hours after precipitation stops.

      - Deteriorated Seams: Repair all delaminated or open seams using method acceptable to the manufacturer.

      - Pitch Pans: Pitch pans shall be capped with sheet metal so they may be sealed with GAF products.

      - Condensate Lines: Condensate lines shall be installed from HVAC units to gutters as part of the overall drainage system. The type of piping used for condensate lines may vary depending on local building codes.

      - **NEW ASPHALTIC ONLY**Membrane cleaning: If it is a new asphaltic substrate (less than 5 years) the surface may be cleaned using pressured air and dry broom. NOTE: If there is excessive dirt accumulation on new asphaltic membranes that cannot be removed by the dry cleaning method, it must be Power washed and cleaned with GAF Cleaning Concentrate.

      - Membrane cleaning:  Roof substrate must be carefully pressure washed with water. GAF Cleaning Concentrate is recommended. Use an approximate working pressure of 2,000 psi (depending on condition of roof) to remove all dirt, dust, chalking, loose materials, etc. Take care not to damage the roof surface or force water into the roof system. Use hot water and mild detergent to remove grease and/or oils from the roof substrate. If mildew or algae are present, use bleach to treat these areas, then pressure wash surface.

      - Prime substrate with Multi-Purpose Primer at the rate of 0.67-1 gallons per square and allow to dry. When GAF Acrylic Base Coat or Bleed-Block Acrylic Base Coat is used as the first coat in the system, Multi-Purpose Primer is not required.

    - Granulated Asphaltic:

      - Moisture Survey: A moisture survey shall be performed on the roof system to determine the suitability of the existing roof for application of a GAF System. Any wet or deteriorated areas shall be removed and replaced. If the moisture survey indicates more than 25% of the roof is wet, consider other reroofing options.

      - GAF recommends that new asphaltic membranes and repairs age at least 30 days; 90+ days is ideal.

      - Do not apply over gravel surfaced asphaltic substrates.

      - Preparation of the Roof substrate is the responsibility of the installer, who shall address and correct all of the conditions listed in this section. Examine substrates to receive new roofing. Do not proceed with the installation of the GAF System until unsatisfactory conditions have been corrected in a manner acceptable to the manufacturer (GAF).

      - Treatment of damaged/deteriorated membrane: Any areas where the membrane has torn, cracked and /or buckled must be repaired using similar or compatible products manufactured by GAF. Any wet insulation must be replaced as part of the roofing repair. Allow at least 24 hours drying time before application of other GAF products.

      - Treatment of Ponding Water Areas: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of GAF products. Ponding water is defined as water that does not properly drain and remains on the roof for more than 48 hours after precipitation stops.

      - Deteriorated Seams: Repair all delaminated or open seams using method acceptable to the manufacturer.

      - Pitch Pans: Pitch pans shall be capped with sheet metal so they may be sealed with GAF products.

      - Condensate Lines: Condensate lines shall be installed from HVAC units to gutters as part of the overall drainage system. The type of piping used for condensate lines may vary depending on local building codes.

      - **NEW ASPHALTIC ONLY**Membrane cleaning: If it is a new asphaltic substrate (less than 5 years) the surface may be cleaned using pressured air and dry broom. NOTE: If there is excessive dirt accumulation on new asphaltic membranes that cannot be removed by the dry cleaning method, it must be Power washed and cleaned with GAF Cleaning Concentrate.

      - Membrane cleaning:  Roof substrate must be carefully pressure washed with water. GAF Cleaning Concentrate is recommended. Use an approximate working pressure of 2,000 psi (depending on condition of roof) to remove all dirt, dust, chalking, loose materials, etc. Take care not to damage the roof surface or force water into the roof system. Use hot water and mild detergent to remove grease and/or oils from the roof substrate. If mildew or algae are present, use bleach to treat these areas, then pressure wash surface.

      - Prime substrate with Multi-Purpose Primer at the rate of 1-1.3 gallons per square on granulated membranes and allow to dry. When GAF Acrylic Base Coat or Bleed-Block Acrylic Base Coat is used as the first coat in the system, Multi-Purpose Primer is not required.

    - Concrete:

      - Moisture Survey: Moisture Survey: A moisture survey shall be performed on the roof system to determine the suitability of the existing roof for application of a GAF System. Any wet or deteriorated areas shall be removed and replaced. If the moisture survey indicates more than 25% of the roof is wet, consider other reroofing options. Concrete must contain less than 8% moisture.

      - Preparation of the Roof substrate is the responsibility of the installer, who shall address and correct all of the conditions listed in this section. Examine substrates to receive new roofing. Do not proceed with the installation of the GAF System until unsatisfactory conditions have been corrected in a manner acceptable to the manufacturer (GAF).

      - Repair deteriorated sections with like materials.  Treat structural joints with backer rod and compatible sealant prior to seam treatment.  Control joints in excess of 1/16” shall be caulked with compatible caulk.

      - Treatment of Ponding Water Areas: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of GAF products. Ponding water is defined as water that does not properly drain and remains on the roof for more than 48 hours after precipitation stops.

      - Pitch Pans: Pitch pans shall be capped with sheet metal so they may be sealed with GAF products.

      - Condensate Lines: Condensate lines shall be installed from HVAC units to gutters as part of the overall drainage system. The type of piping used for condensate lines may vary depending on local building codes.

      - Membrane cleaning: Roof substrate must be carefully pressure washed with water. GAF Cleaning Concentrate is recommended. Use a minimum working pressure of 3,000 psi to remove all dirt, dust, chalking, loose materials, etc. Take care not to damage the roof surface or force water into the roof system. Use hot water and mild detergent to remove grease and/or oils from the roof substrate. If mildew or algae are present, use bleach to treat these areas, then pressure wash surface.

      - Prime substrate with Epoxy Primer at the rate of 0.3-0.4 gallons per square and allow to dry.

    - TPO:

      - Moisture Survey: A moisture survey shall be performed on the roof system to determine the suitability of the existing roof for application of a GAF System. Any wet or deteriorated areas shall be removed and replaced. If the moisture survey indicates more than 25% of the roof is wet, consider other reroofing options.

      - Preparation of the Roof substrate is the responsibility of the installer, who shall address and correct all of the conditions listed in this section. Examine substrates to receive new roofing. Do not proceed with the installation of the GAF System until unsatisfactory conditions have been corrected in a manner acceptable to the manufacturer (GAF).

      - Treatment of damaged/deteriorated membrane: Any areas where the membrane has torn, cracked and /or buckled must be repaired using similar or compatible products manufactured by GAF. Any wet insulation must be replaced as part of the roofing repair. Allow at least 24 hours drying time before application of other GAF products.

      - Treatment of Ponding Water Areas: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of GAF® products. Ponding water is defined as water that does not properly drain and remains on the roof for more than 48 hours after precipitation stops.

      - Deteriorated Seams: Repair all delaminated or open seams using method acceptable to the manufacturer.

      - Pitch Pans: Pitch pans shall be capped with sheet metal so they may be sealed with GAF products.

      - Condensate Lines: Condensate lines shall be installed from HVAC units to gutters as part of the overall drainage system. The type of piping used for condensate lines may vary depending on local building codes.

      - Ballasted single ply membrane:  Remove and dispose of ballast, and re-secure single ply membrane per manufacturer’s requirements. Any exposed fasteners/plates must be treated as part of flashing prep work.

      - Membrane cleaning: Roof substrate must be carefully pressure washed with water. GAF Cleaning Concentrate is recommended. Use an approximate working pressure of 2,000 psi (depending on condition of roof) to remove all dirt, dust, chalking, loose materials, etc. Take care not to damage the roof surface or force water into the roof system. Use hot water and mild detergent to remove grease and/or oils from the roof substrate. If mildew or algae are present, use bleach to treat these areas, then pressure wash surface.

      - Prime substrate with TPO Red Primer at the rate of 0.25 gallons per square and allow to dry.

    - PVC:

      - Moisture Survey: A moisture survey shall be performed on the roof system to determine the suitability of the existing roof for application of a GAF System. Any wet or deteriorated areas shall be removed and replaced. If the moisture survey indicates more than 25% of the roof is wet, consider other reroofing options.

      - Preparation of the Roof substrate is the responsibility of the installer, who shall address and correct all of the conditions listed in this section. Examine substrates to receive new roofing. Do not proceed with the installation of the GAF System until unsatisfactory conditions have been corrected in a manner acceptable to the manufacturer (GAF).

      - Treatment of damaged/deteriorated membrane: Any areas where the membrane has torn, cracked and /or buckled must be repaired using similar or compatible products manufactured by GAF. Any wet insulation must be replaced as part of the roofing repair. Allow at least 24 hours drying time before application of other GAF products.

      - Treatment of Ponding Water Areas: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of GAF System. Ponding water is defined as water that does not properly drain and remains on the roof for more than 48 hours after precipitation stops.

      - Deteriorated Seams: Repair all delaminated or open seams using method acceptable to the manufacturer.

      - Pitch Pans: Pitch pans shall be capped with sheet metal so they may be sealed with GAF products.

      - Condensate Lines: Condensate lines shall be installed from HVAC units to gutters as part of the overall drainage system. The type of piping used for condensate lines may vary depending on local building codes.

      - Ballasted single ply membrane:  Remove and dispose of ballast, and re-secure single ply membrane per manufacturer’s requirements. Any exposed fasteners/plates must be treated as part of Flashing prep work.

      - Membrane cleaning: Roof substrate must be carefully pressure washed with water. GAF Cleaning Concentrate is recommended. Use an approximate working pressure of 2,000 psi (depending on condition of roof) to remove all dirt, dust, chalking, loose materials, etc. Take care not to damage the roof surface or force water into the roof system. Use hot water and mild detergent to remove grease and/or oils from the roof substrate. If mildew or algae are present, use bleach to treat these areas, then pressure wash surface.

      - Prime substrate with Multi-Purpose Primer at the rate of 0.33 gallons per square and allow to dry.

    - Hypalon:

      - Moisture Survey: A moisture survey shall be performed on the roof system to determine the suitability of the existing roof for application of a GAF System. Any wet or deteriorated areas shall be removed and replaced. If the moisture survey indicates more than 25% of the roof is wet, consider other reroofing options.

      - Preparation of the Roof substrate is the responsibility of the installer, who shall address and correct all of the conditions listed in this section. Examine substrates to receive new roofing. Do not proceed with the installation of the GAF System until unsatisfactory conditions have been corrected in a manner acceptable to the manufacturer (GAF).

      - Treatment of damaged/deteriorated membrane: Any areas where the membrane has torn, cracked and /or buckled must be repaired using similar or compatible products manufactured by GAF. Any wet insulation must be replaced as part of the roofing repair. Allow at least 24 hours drying time before application of other GAF products.

      - Treatment of Ponding Water Areas: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of GAF products. Ponding water is defined as water that does not properly drain and remains on the roof for more than 48 hours after precipitation stops.

      - Deteriorated Seams: Repair all delaminated or open seams using method acceptable to the manufacturer.

      - Pitch Pans: Pitch pans shall be capped with sheet metal so they may be sealed with GAF products.

      - Condensate Lines: Condensate lines shall be installed from HVAC units to gutters as part of the overall drainage system. The type of piping used for condensate lines may vary depending on local building codes.

      - Ballasted single ply membrane:  Remove and dispose of ballast, and re-secure single ply membrane per manufacturer’s requirements. Any exposed fasteners/plates must be treated as part of Flashing prep work.

      - Membrane cleaning: Roof substrate must be carefully pressure washed with water. GAF Cleaning Concentrate is recommended. Use an approximate working pressure of 2,000 psi (depending on condition of roof) to remove all dirt, dust, chalking, loose materials, etc. Take care not to damage the roof surface or force water into the roof system. Use hot water and mild detergent to remove grease and/or oils from the roof substrate. If mildew or algae are present, use bleach to treat these areas, then pressure wash surface.

    - EPDM:

      - Moisture Survey: A moisture survey shall be performed on the roof system to determine the suitability of the existing roof for application of a GAF System. Any wet or deteriorated areas shall be removed and replaced. If the moisture survey indicates more than 25% of the roof is wet, consider other reroofing options.

      - Preparation of the Roof substrate is the responsibility of the installer, who shall address and correct all of the conditions listed in this section. Examine substrates to receive new roofing. Do not proceed with the installation of the GAF System until unsatisfactory conditions have been corrected in a manner acceptable to the manufacturer (GAF).

      - Treatment of damaged/deteriorated membrane: Any areas where the membrane has torn, cracked and /or buckled must be repaired using similar or compatible products manufactured by GAF. Any wet insulation must be replaced as part of the roofing repair. Allow at least 24 hours drying time before application of other GAF products.

      - Treatment of Ponding Water Areas: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of GAF products. Ponding water is defined as water that does not properly drain and remains on the roof for more than 48 hours after precipitation stops.

      - Deteriorated Seams: Repair all delaminated or open seams using method acceptable to the manufacturer.

      - Pitch Pans: Pitch pans shall be capped with sheet metal so they may be sealed with GAF products.

      - Condensate Lines: Condensate lines shall be installed from HVAC units to gutters as part of the overall drainage system. The type of piping used for condensate lines may vary depending on local building codes.

      - Ballasted single ply membrane:  Remove and dispose of ballast, and re-secure single ply membrane per manufacturer’s requirements. Any exposed fasteners/plates must be treated as part of Flashing prep work.

      - Membrane cleaning: Apply EPDM Activator to roof substrate using a low pressure sprayer at the rate of 0.2 gallon/100 sq. ft. and allow to stand a minimum of 20 minutes. Roof substrates containing heavy deposits of dirt should be first power washed with GAF Cleaning Concentrate. Clean the EPDM with fresh water using a minimum 3500 psi (24,131 kPa) pressure washer fan width should be 12’ at the surface. Begin the power rinse at the lowest point on the roof and work slowly upwards, keeping the pressure washer tip within 12’ (30 cm) of the EPDM surface in order to remove mica and inorganic release agents. Once the highest point on the roof is reached, work down again with a final, clean water rinse. The final rinse can be done at a faster pace than the initial pressure wash, and the water should be clear with no soap bubbles present. Take care not to damage the roof surface or force water into the roof system. Use hot water and mild detergent to remove grease and/or oils from the roof substrate. If mildew or algae are present, use bleach to treat these areas, then pressure wash surface.

    - SPF:

      - Moisture Survey: A moisture survey shall be performed on the roof system to determine the suitability of the existing roof for application of a GAF System. Any wet or deteriorated areas shall be removed and replaced. If the moisture survey indicates more than 25% of the roof is wet, consider other reroofing options.

      - Preparation of the Roof substrate is the responsibility of the installer, who shall address and correct all of the conditions listed in this section. Examine substrates to receive new roofing. Do not proceed with the installation of the GAF System until unsatisfactory conditions have been corrected in a manner acceptable to the manufacturer (GAF).

      - Treatment of damaged/deteriorated SPF: All areas where urethane foam has degraded must be scarified and re-foamed to create a smooth, workable substrate. Any areas where the foam is wet/damaged must be removed and re-foamed.

      - Treatment of Ponding Water Areas: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of GAF System. Ponding water is defined as water that does not properly drain and remains on the roof for more than 48 hours after precipitation stops.

      - Pitch Pans: Pitch pans shall be capped with sheet metal so they may be sealed with GAF products.

      - Condensate Lines: Condensate lines shall be installed from HVAC units to gutters as part of the overall drainage system. The type of piping used for condensate lines may vary depending on local building codes.

      - Membrane cleaning: Roof substrate must be carefully pressure washed with water. GAF Cleaning Concentrate is recommended. Use an approximate working pressure of 2,000 psi (depending on condition of roof) to remove all dirt, dust, chalking, loose materials, etc. Take care not to damage the roof surface or force water into the roof system. Use hot water and mild detergent to remove grease and/or oils from the roof substrate. If mildew or algae are present, use bleach to treat these areas, then pressure wash surface.

    - Corrugated Transite:

      - Moisture Survey: A moisture survey shall be performed on the roof system to determine the suitability of the existing roof for application of a GAF System. Any wet or deteriorated areas shall be removed and replaced. If the moisture survey indicates more than 25% of the roof is wet, consider other reroofing options.

      - Preparation of the Roof substrate is the responsibility of the installer, who shall address and correct all of the conditions listed in this section. Examine substrates to receive new roofing. Do not proceed with the installation of the GAF System until unsatisfactory conditions have been corrected in a manner acceptable to the manufacturer (GAF).

      - Treatment of damaged/deteriorated panels: Any damaged panels shall be removed and replaced. Tighten/replace existing fasteners.

      - Treatment of Ponding Water Areas: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of GAF products. Ponding water is defined as water that does not properly drain and remains on the roof for more than 48 hours after precipitation stops.

      - Deteriorated Seams: Repair all delaminated or open seams using method acceptable to the manufacturer.

      - Pitch Pans: Pitch pans shall be capped with sheet metal so they may be sealed with GAF products.

      - Condensate Lines: Condensate lines shall be installed from HVAC units to gutters as part of the overall drainage system. The type of piping used for condensate lines may vary depending on local building codes.

      - Membrane cleaning: Corrugated or structural transite panels are likely to contain significant amounts of asbestos, which may be released during pressure-washing. Asbestos dust is an extreme health hazard and a known carcinogen. It is the installer’s and/or owner’s responsibility to check with local and state agencies regarding proper disposal and/or preparation as well as protection for workers exposed to this material. Roof wash-off catchment systems should be in place when required. Be sure to follow state and local requirements for roof wash-off catchments during the cleaning process. Roofs that are confirmed to be asbestos-free can be power washed with water and UCC using a minimum working pressure of 2,000 psi to remove all dirt, dust, chalking, loose materials etc. Take care not to damage the roof surface or force water into the roof system. Use hot water and mild detergent to remove grease and/or oils from the roof substrate. If mildew or algae are present, use bleach to treat these areas, then pressure wash surface

      - Prime substrate with Epoxy Primer at the rate of 0.3-0.4 gallons per square and allow to dry.

  - FLASHING APPLICATION

    - Preliminary work consists of substrate preparation and all flashing details. After completion of substrate preparation, all flashing details, penetrations and curbs shall be flashed with either 6 inches (152 mm) or 12 inches (305 mm) GAF Premium Fabric and GAF Premium Brush-Grade Acrylic Flashing in accordance with GAF Detail Drawings. GAF Premium Brush-Grade Acrylic Flashing shall be feathered at the edges (see current GAF Detail Drawings) so that water may flow over the various flashing details.

    - Exposed insulation plates must be encapsulated in GAF Premium Brush-Grade Acrylic Flashing.

    - Parapet Walls: All parapet wall details within the roof system shall be secured and sealed with a 12 inches (305 mm) minimum width of GAF Premium Fabric and GAF Premium Brush-Grade Acrylic Flashing. All voids and open areas shall be filled with polyurethane foam prior to application of GAF Premium Fabric and GAF Premium Brush-Grade Acrylic Flashing.

    - Curb Flashings: All curb flashings, including cricket details, shall be flashed with at least a 12 inches (305 mm) width of GAF Premium Fabric and GAF Premium Brush-Grade Acrylic Flashing. Encapsulate all fasteners using GAF Premium Brush-Grade Acrylic Flashing. Do not bridge fasteners. GAF Premium Fabric shall be cut around all fasteners so fabric lies flat.

    - Penetrations: GAF Premium Brush-Grade Acrylic Flashing shall be applied around the base of the penetration extending at least 6 inches (152 mm) onto the vertical and 6 inches (152 mm) onto the base. Embed a 12 inches (305 mm) width of GAF Premium Fabric using additional GAF Premium Brush-Grade Acrylic Flashing as necessary. Cut the GAF Premium Fabric to accommodate the shape of the penetration. Both the top and bottom of neoprene pipe boots shall be flashed using GAF Premium Brush-Grade Acrylic Flashing and GAF Premium Fabric as describes above.

    - Skylights: Curb skylights shall be treated in the same fashion as curb flashings. After flashing work has been completed and the coating has cured, treat deteriorated fiberglass skylight panels with GAF Sky-Lite.

    - Gutters: Trowel or brush apply FlexSeal™ Sealant to the interior or exterior gutter incorporating 12 inches (305 mm) GAF Premium Fabric at all gutter seams. Gutter shall be completely clean and dry before applying FlexSeal™ Sealant.

    - Ponding Water Areas: The severity of the ponding water condition will determine the requirements for additional preparation. Contact the GAF’s Design Services Department for information.

    - Inspect Preliminary Work/Flashing Details for problem areas (e.g., gaps, cracks, fishmouths, air pockets, etc.) to ensure that work is complete and satisfactory.

  - FIELD OF ROOF APPLICATION AND RATES – ACRYLIC OR SMOOTH ASPHALTIC

    - Perform preliminary work and flashing details per instructions in Flashing section. Loose seams must be 3-coursed with 6” fabric. Tight seams may be treated with one course of specified flashing material.

    - 10-year System Application:

      - Apply two coats of GAF Acrylic Coating at the rate of 1.5 gal per 100 ft2 (6.11 L/m2) per coat (3 gallons TOTAL), allow at least 24 hours drying time between coats and then inspect for defects, flaws or areas of insufficient coverage. Correct any unsatisfactory conditions. The specified GAF dry coating thickness is listed below. All unsatisfactory areas must be repaired.

        - Premium Acrylic Hydrostop® Top Coat: DFT 25

        - GAF Acrylic Top Coat: DFT 26

        - GAF High Tensile Acrylic Top Coat: DFT 25

        - GAF WOB Acrylic Top Coat: DFT 28

    - 15-year System Application:

      - Apply two coats of GAF Acrylic Coating at the rate of 1.5 gal per 100 ft2 (6.11 L/m2) per coat, followed by a finish coat of GAF Acrylic Coating at the rate of 1.5 gal per 100 ft2 (6.11 L/m2) (4.5 gallons TOTAL) allow at least 24 hours drying time between coats and then inspect for defects, flaws or areas of insufficient coverage. Correct any unsatisfactory conditions. The specified GAF dry coating thickness is listed below. All unsatisfactory areas must be repaired.

        - Premium Acrylic Hydrostop® Top Coat: DFT 37

        - GAF Acrylic Top Coat: DFT 38

        - GAF High Tensile Acrylic Top Coat: DFT 38

        - GAF WOB Acrylic Top Coat: DFT 42

  - FIELD OF ROOF APPLICATION AND RATES – EPDM, TPO, PVC, HYPALON, STRUCTURAL CONCRETE, CORRUGATED TRANSITE SUBSTRATES

    - Perform preliminary work and flashing details per instructions in Flashing section. Loose seams must be 3-coursed with 6” fabric. Tight seams may be treated with one course of specified flashing material.

    - 10-year System Application:

      - Apply two coats of GAF Acrylic Coating at the rate of 1.5 gal per 100 ft2 (6.11 L/m2) per coat (3 gallons TOTAL), allow at least 24 hours drying time between coats and then inspect for defects, flaws or areas of insufficient coverage. Correct any unsatisfactory conditions. The specified GAF dry coating thickness is listed below. All unsatisfactory areas must be repaired.

        - Premium Acrylic Hydrostop® Top Coat: DFT 25

        - GAF Acrylic Top Coat: DFT 26

        - GAF High Tensile Acrylic Top Coat: DFT 25

        - GAF WOB Acrylic Top Coat: DFT 28

    - 15-year System Application:

      - Apply two coats of GAF Acrylic Coating at the rate of 1.5 gal per 100 ft2 (6.11 L/m2) per coat, and a finish coat at the rate of 1.0 gal per 100 ft2 (4.07 L/m2) (4 gallons TOTAL). Allow at least 24 hours drying time between coats and then inspect for defects, flaws or areas of insufficient coverage. Correct any unsatisfactory conditions. The specified GAF dry coating thickness is listed below. All unsatisfactory areas must be repaired.

        - Premium Acrylic Hydrostop® Top Coat: DFT 33

        - GAF Acrylic Top Coat: DFT 34

        - GAF High Tensile Acrylic Top Coat: DFT 33

        - GAF WOB Acrylic Top Coat: DFT 37

  - FIELD OF ROOF APPLICATION AND RATES – SPRAY POLYURETHANE FOAM

    - SPF is self-flashing and should be adhered to all adjacent surfaces. Repair any minor separations from shrinkage per instructions in Flashing section.

    - 10-year System Application:

      - Apply two coats of GAF Acrylic Coating at the rate of 1.5 gal per 100 ft2 (6.11 L/m2) per coat, and a finish coat at the rate of 1.0 gal per 100 ft2 (4.07 L/m2) (4 gallons TOTAL). Allow at least 24 hours drying time between coats and then inspect for defects, flaws or areas of insufficient coverage. Correct any unsatisfactory conditions. The specified GAF dry coating thickness is listed below. All unsatisfactory areas must be repaired.

        - Premium Acrylic Hydrostop® Top Coat: DFT 33

        - GAF Acrylic Top Coat: DFT 34

        - GAF High Tensile Acrylic Top Coat: DFT 33

        - GAF WOB Acrylic Top Coat: DFT 37

    - 15-year System Application:

      - Apply two coats of GAF Acrylic Coating at the rate of 1.5 gal per 100 ft2 (6.11 L/m2) per coat, and two coats at the rate of 1.0 gal per 100 ft2 (4.07 L/m2) (5 gallons TOTAL). Allow at least 24 hours drying time between coats and then inspect for defects, flaws or areas of insufficient coverage. Correct any unsatisfactory conditions. The specified GAF dry coating thickness is listed below. All unsatisfactory areas must be repaired.

        - Premium Acrylic Hydrostop® Top Coat: DFT 42

        - GAF Acrylic Top Coat: DFT 43

        - GAF High Tensile Acrylic Top Coat: DFT 42

        - GAF WOB Acrylic Top Coat: DFT 43

    - 20-year System Application:

      - Apply four coats of GAF Acrylic Coating at the rate of 1.5 gal per 100 ft2 (6.11 L/m2) per coat, (6 gallons TOTAL). Allow at least 24 hours drying time between coats and then inspect for defects, flaws or areas of insufficient coverage. Correct any unsatisfactory conditions. The specified GAF dry coating thickness is listed below. All unsatisfactory areas must be repaired.

        - Premium Acrylic Hydrostop® Top Coat: DFT 50

        - GAF Acrylic Top Coat: DFT 51

        - GAF High Tensile Acrylic Top Coat: DFT 50

        - GAF WOB Acrylic Top Coat: DFT 51

  - INSPECTION INFORMATION

    - Inspect Preliminary Work / Flashing Details for problem areas (e.g., gaps, cracks, fishmouths, air pockets, etc.) to ensure that work is complete and satisfactory.

    - Inform Project Architect and GAF’s Field Services Department when all preliminary work and flashing details will be complete and the Installer is ready to proceed with application of GAF System. Allow a minimum of two (2) weeks for the interim inspection to be made by the GAF’s Field Services Department.

    - Any final roofing installation prior to this interim inspection is subject to rejection by the Project Architect and/or the GAF’s Field Services Department. Please be advised that Technical On-Site Support for instructing Certified Contractors in the proper application of the HydroStop® Roofing System is available. The first day of instruction is at no-charge to the Certified Contractor. Any additional days or return trips for instruction will be at a cost of $600.00 per day, plus all incurred travel expenses. The two (2) required inspections (interim and final) for the Liquid Applied Roofing System Guarantees are free of charge. Additional inspections will be billed at a rate of $600.00 per day plus all incurred travel costs.

  - OTHER ITEMS

    - Installer shall take photographs of representative roof areas, including detail work, before work commences, after the surface has been properly prepared, after all flashing and detail work has been performed, and after the spray application of the GAF membrane.

    - Installer shall provide the following support for on-site inspections by a representative from GAF’s Field Services Department (list is not comprehensive):

      - Representative from the installer's company who has authority to make binding decisions

      - Required means to access all areas of the treated roof.

      - Previous photographs of the roof, including test patch results, as applicable

      - GAF products and application equipment required to repair roof areas where destructive tests are to be performed by GAF’s Field Services Department.

    - Special care shall be taken to avoid shading when spraying dark colors. When applying GAF products, Installer shall always spray wet material onto wet material to ensure that spray lines do not appear. GAF strongly recommends the installation of any dark-colored finish coat by spraying two lighter coats (instead of one heavy coat) using a smaller tip size. Installer should also use the roof ribs or standing seams to terminate each spray pass.

    - Installer shall take special care when moving spray hoses and other equipment on the roof so that flashing work and encapsulated fastener heads are not damaged. Also, all spray equipment shall remain on the ground for the duration of the job.

    - If there will be an extended period of time (6 months or greater) between application of base and finish coats, the base coat shall be thoroughly cleaned before applying the finish coat.

    - It is strongly recommended that walkways designed for metal roofing systems be installed in all high traffic areas. Contact the GAF’s Design Services Department for recommendations.

  - REPAIRS

    - In the event that the GAF membrane is damaged or punctured, repairs are to be performed using the specified GAF Coating or GAF Flashing and GAF Premium Fabric (where necessary) as follows:

      - Damaged areas are to be cut, cleaned and dried.

      - Apply GAF Flashing or the specified GAF Coating with GAF Bulking Fiber, and feather out onto the existing GAF membrane.

      - If a new penetration area has been cut, embed GAF Premium Fabric into the GAF Flashing or the specified GAF Coating with GAF Bulking Fiber according to standard GAF specifications.

      - Once the GAF Flashing has cured, GAF Coating may be applied for aesthetic uniformity.

END OF SECTION