- GENERAL

  - SUMMARY

    - This specification is for the application of StreetBond® SB150 Pavement Coating to an asphalt pavement surface previously coated with StreetBond® coatings.

  - REFERENCES

    - High Performance Coated Asphalt Specification.

    - StreetBond® Coating Application to Non-textured Asphalt Pavement Specification.

  - SYSTEM DESCRIPTION

    - As with all coatings that may be required to perform in an abrasive environment, proper maintenance procedure includes the re-application of same (or similar) coating(s) to replace coating that has worn away.

    - Re-coating may also be used to simply re-fresh the coated surface or to change the color of the surface.

    - Re-coating may be performed on either textured or non-textured asphalt pavement surfaces.

    - StreetBond® SB150 Pavement Coating has been specifically formulated for application to asphalt pavement and has been confirmed by a certified testing facility to possess a balance of performance properties for a durable and color-fast finish.

    - StreetBond® coatings are available in a multitude of colors.

    - StreetPrint® is a registered Trademark of Integrated Paving Concepts. U.S. patent number 5,215,402.

  - DEFINITIONS

    - “Accredited StreetBond® Applicator” has valid Certification for both Textured (stamped) and Non-Textured (flatwork) as offered by GAF and are reviewed on an annual basis.  All Accredited StreetBond® Applicators have been qualified by GAF to perform the work and offer a product warranty.

    - “Owner” means the Owner and refers to the representative person who has decision making authority for the Work.

    - “Textured asphalt pavement” is asphalt pavement that has been subjected to imprinting or stamping in a specific pattern.

    - “Non-textured asphalt pavement” is asphalt pavement that has not been stamped and is sometimes referred to as “flatwork”.

    - The “Work” is the re-coat work contemplated in this bid submission and specification

  - SUBMITTALS

    - If the StreetPrint process is to be used in all or in part of this project, a copy of the Accreditation Certificate, available from the Applicator, is required with submittal. Independent product test results available upon request.

  - WARRANTY

    - Manufacturers standard form, without money limitation, in which GAF agrees to repair leaks through the United Coatings™ products on the roof caused by manufacturing defects, ordinary wear and tear (except peeling, flaking or cracking) in applying, the StreetBond® Coating system.

      - Warranty Duration:

        - Five (5) Years Pedestrian Pavement Only

            - 4 passes – Minimum DFT 26 mil

        - Three (3) Years

          - Pedestrian Pavement and Residential Driveways

            - 3 passes – Minimum DFT 19 mil

          - Parking Lots, Vehicular Lanes

            - 4 passes – Minimum DFT 26 mil

    - Limited Material Warranty:  Manufacturers standard form, in which GAF agrees to reimburse the owner in the event of a manufacturing defect that adversely affects the performance of the StreetBond® Coating.

      - Warranty Duration: One Year.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:  GAF, Commercial Roofing Products Division, which is located at: 1 Campus Drive; Parsippany, NJ 07054; Toll Free Tel: 800-ROOF-411; Tel: 973-628-3000; Fax: 973-628-3451; Email: technicalquestions@gaf.com ; Web: www.gaf.com

  - MATERIALS

    - StreetBond® SB150 is a two-part premium epoxy-modified, acrylic, waterborne coating specifically designed for application on asphalt pavements but also excel over concrete when a primer is used. It has a balance of properties to ensure good adhesion and movement on flexible pavement, while providing good durability. StreetBond® SB150 is durable in both dry and wet environments.

    - StreetBond® Colorant is a highly concentrated, high quality, UV stable pigment blend designed to add color to StreetBond® SB150 coatings.  One unit of Colorant shall be used with one pail of StreetBond® coating material.

  - COATING PERFORMANCE PROPERTIES

    - The following tables outline the physical and performance properties of the StreetBond® SB150 asphalt pavement coating as determined by an independent testing laboratory.

TABLE 1: TYPICAL PHYSICAL PROPERTIES OF SB150

| Characteristic | Test Specification | SB150 |
| --- | --- | --- |
| Solids by Volume | ASTM D-2697 | 55% |
| Solids by Weight | ASTM D-2369 | 68.9% |
| Density | ASTM D-1475 | 13.34 lbs/gal (1.599 kg/l) |

TABLE 2: TYPICAL PERFORMANCE PROPERTIES OF SB150

| Characteristic | Test Specification | SB150 |  |
| --- | --- | --- | --- |
| Dry time (To re-coat) | ASTM D-5895 23°C; 37% RH | 35 min |  |
| Taber Wear Abrasion Dry H-10 wheel | ASTM D-4060 7 days cure | 0.98 g/1000 cycles |  |
| Taber Wear Abrasion Wet H-10 wheel | ASTM D-4060 7 days cure | 3.4 g/1000 cycles |  |
| QUV E Accel. Weathering environment. | ASTM G-155 2,000 hours (CIE units) | ∆E = 0.49 (brick color) |  |
| Hydrophobicity Water absorption | ASTM D-570 | 8.3 % (9 days immersion) |  |
| Shore hardness | ASTM D-2240 | 63 Type D |  |
| Mandrel Bend | ASTM D522-93A | 1/4” @ 21° C |  |
| Permeance | ASTM D1653 | 3.45 g/m²/hr (52 mils) |  |
| VOC | EPA-24 ASTM D3960-05 | 18.7 g/l |  |
| Adhesion to Asphalt | ASTM D-4541 | Substrate Failure |  |
| Friction Wet | ASTM E-303 British Pendulum Tester | WP* coated | 64 |
|  |  | WP* uncoated | 57 |
|  |  | AC** coated | 73 |
|  |  | AC** uncoated | 60 |

*WP – test conducted on asphalt in wheel path

**AC – test conducted on asphalt adjacent to curb.

  - EQUIPMENT FOR STREETBOND® SB150 APPLICATIONS

The equipment described has been designed specifically for optimal application of StreetBond® coatings.  Other equipment may or may not be suitable and could compromise the performance of the StreetBond® coatings and/or reduce crew productivity.

    - The Rapid Sprayer II is a proprietary coating sprayer supplied by Integrated Paving Concepts Inc. and is capable of applying the StreetBond® coatings to the asphalt pavement surface in a thin, controlled film which will optimize the drying and curing time of the coating.

    - The StreetBond® Coatings Mixer is a motorized mixing device designed to ensure efficient and thorough blending of the StreetBond® components.

    - The Rapid Finisher II is an electric powered broom supplied by Integrated Paving Concepts Inc. that can be used in the application of StreetBond® coatings to improve productivity.  It is especially useful on larger projects.

- EXECUTION

  - GENERAL

    - StreetBond® SB150 shall be supplied and installed by an Accredited StreetPrint Applicator in accordance with the plans and specifications (or as directed by the Owner).  In any circumstance, do not begin installation without confirmation of Applicator certification

  - SURFACE PREPARATION

    - The pavement surface shall be clean and free of all dust, silt, grease, oil, debris and chemical residue from de-icing materials. If de-icing materials have been used and are still present, cleaning shall be carried out using pressure washing.  All loose material on the pavement surface shall be removed either by mechanical brooming, compressed air or pressure washing.

    - Textured pavement can wear or fade over time which may result in a requirement that the affected area be re-stamped in the same pattern. This decision shall be made by the Owner prior to proceeding with the re-coat work.  For print specifications, please refer to the High Performance Coated Asphalt Specification available at gaf.com.

  - APPLICATION OF STREETBOND® COATINGS

    - The coating shall be applied in accordance with the Recommended Application Procedure Guide as follows:

      - The first layer of StreetBond® SB150 coating shall be spray applied over the surface area with the Rapid Sprayer II and broomed to work the material into the pavement surface.  The coating shall be allowed to dry to the touch before applying the next layer.

      - Subsequent layers of StreetBond® SB150 shall also be sprayed and broomed.

      - Coating coverage is approximately 250 sq ft. (23.22 sq. meters) per layer per pail of coating.

      - The Accredited StreetPrint Applicator shall apply the StreetBond® SB150 coatings only when the air temperature is 50° F (10° C) and rising and will not drop below 50° F (10° C) within 24 hours. No precipitation should be expected within 24 hours.

      - Additional layers of StreetBond® SB150 may be used to provide additional build thickness in high wear areas such as wheel paths and vehicle turning areas.

    - Build Thickness

      - The amount of wear of the previously coated surface will help to determine the number of coats to apply to the pavement surface.

      - Complete coating wear-through

        - For areas where there is complete wear-through of the previous coating or the underlying pavement is visible, a minimum of four coats should be applied to the affected area.  This would be typical of a high traffic area.

      - Coating not worn through

        - Where there is little wear of the original coating (typically low traffic areas) and the original coating remains, two layers of StreetBond® SB150 will generally be sufficient.

  - NON- TEXTURED HMA PAVEMENT

    - Only use StreetBond® SB150 when applying StreetBond® coatings to non-textured asphalt pavement.

  - COATING COVERAGE & THICKNESS

    - Recommended coating coverage and thickness is as outlined in TABLE 3 below.  Actual coverage may be affected by the texture of the asphalt pavement substrate and the imprint pattern.

TABLE 3: COATING COVERAGE AND THICKNESS

|  | COVERAGE (approx.) |  | THICKNESS (approx.) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| # OF LAYERS | TEXTURED (Offset brick) SF/pail | NON-TEXTURED SF/pail | WET |  | DRY |  |
|  |  |  | mm | mil | mm | mil |
| 3 | 200 | 225 | 0.65 | 25.7 | 0.36 | 14.1 |
| 4 | 150 | 175 | 0.87 | 34.3 | 0.48 | 18.9 |

Additional layers of coating can be applied as deemed necessary.

  - OPENING TO TRAFFIC

    - Minimally, the surface coating must be 100% dry before traffic is permitted.  The following table is a guide:

TABLE 4: COATING DRY TIMES (TYPICAL)

| Air Temperature | Relative Humidity | Dry time |
| --- | --- | --- |
| 60°F (15°C) | 80% | 8 hours |
| 81°F (27°C) | 57% | 4 hours |
| 104°F (40°C) | 5% | 2 hours |

Substrate temperature, wind and humidity can also affect dry times.  Generally, warm and dry conditions decrease the time to dry.

- MEASUREMENT AND PAYMENT

  - MEASUREMENT

    - The measured area is the actual area of asphalt pavement that has received the StreetBond® Recoat System, measured in place. No deduction will be made for the area(s) occupied by manholes, inlets, drainage structures, bollards or by any public utility appurtenances within the area.

  - PAYMENT

    - Payment will be full compensation for all work completed as per conditions set out in the contract.  For unit price contracts, the payment shall be calculated using the measured area as determined above.